SOP 9.3.020 – Setup Storage Trailer

Department: Project Management / Field Operations
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.035 – Conduct Site Visit; 9.41.090 – Setup Office Trailer; 9.41.100 – Setup Site Fencing and Access Control
Reference: GSL Project Manager Procedures – Mobilization

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 4: Staging & Job Familiarization

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.2.6 Project Safety Coordinator

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To ensure proper setup of the storage trailer for secure, organized, and efficient material and equipment management during construction.

Scope

This SOP applies to Project Managers and Field Supervisors during mobilization.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Approves trailer placement, ensures compliance with site logistics plan. |
| Field Supervisor | Sets up shelving, locks, and inventory control systems. |
| Safety Coordinator | Verifies compliance with fire and access safety standards. |

Required Documents and Tools

- Site logistics plan

- Storage trailer setup checklist

- Inventory control system

- Locks, shelving, and fire extinguishers

Procedure

Step 1: Locate Trailer

- Place storage trailer per logistics plan, with safe access for deliveries and equipment.

Step 2: Secure Trailer

- Install locks, lighting, and security measures.

Step 3: Organize Interior

- Install shelving, racks, and bins.

- Designate areas for different material types.

Step 4: Implement Inventory System

- Set up inventory tracking (manual log or digital).

- Assign responsibility for updates.

Step 5: Safety Measures

- Provide fire extinguishers and ensure trailer is ventilated if storing chemicals.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Storage Trailer Setup Checklist | Field Supervisor | Project Folder |
| Inventory Log | Field Supervisor | Project Folder |

Compliance & Review

| KPI | Target |
| --- | --- |
| Trailer secured with locks and lighting | 100% |
| Inventory system established before first delivery | 100% |
| Safety equipment installed | 100% |

References

- GSL Project Manager Procedures – Mobilization

Appendix

- Storage Trailer Setup Checklist

- Inventory Log Template