SOP 9.3.030 – Setup Site Fencing and Access Control

Department: Project Management / Safety
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.035 – Conduct Site Visit; 9.41.090 – Setup Office Trailer; 9.41.095 – Setup Storage Trailer
Reference: GSL Project Manager Procedures – Mobilization

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 4: Staging & Job Familiarization

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.2.6 Project Safety Coordinator

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To establish secure site fencing and access control measures to protect personnel, materials, and equipment while meeting regulatory and client requirements.

Scope

This SOP applies to Project Managers, Field Supervisors, and Safety Coordinators during mobilization.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Approves fencing plan and ensures access complies with project logistics. |
| Field Supervisor | Oversees installation of fencing, gates, and signage. |
| Safety Coordinator | Verifies compliance with OSHA and local regulations. |
| Security Personnel (if applicable) | Monitors controlled access points. |

Required Documents and Tools

- Site logistics plan

- Fencing and gate layout drawings

- Access control plan

- Safety signage package

Procedure

Step 1: Plan Fencing Layout

- Identify perimeter fencing requirements based on site plan.

- Determine access points for vehicles, deliveries, and personnel.

Step 2: Install Fencing

- Erect fencing around site perimeter.

- Secure gates with locks or electronic access systems.

Step 3: Implement Access Control

- Post entry/exit protocols.

- Assign security personnel if required.

Step 4: Safety and Compliance

- Post required signage (e.g., “Authorized Personnel Only,” PPE requirements).

- Ensure fencing meets OSHA and local jurisdiction standards.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Fencing & Access Plan | Project Manager | Project Folder |
| Access Control Log | Field Supervisor / Security | Project Folder |

Compliance & Review

| KPI | Target |
| --- | --- |
| Fencing installed before mobilization | 100% |
| Access points secured and documented | 100% |
| Safety signage posted at all entries | 100% |

References

- GSL Project Manager Procedures – Mobilization

Appendix

- Site Fencing Layout Example

- Access Control Log Template

- Safety Signage Examples