SOP 9.3.060 – Setup Sanitary Facilities

Department: Project Management / Safety
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.035 – Conduct Site Visit; 9.41.090 – Setup Office Trailer; 9.41.095 – Setup Storage Trailer; 9.41.110 – Setup Temporary Water
Reference: GSL Project Manager Procedures – Mobilization

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 4: Staging & Job Familiarization

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.2.6 Project Safety Coordinator

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To provide adequate sanitary facilities (toilets, wash stations) for workers in compliance with OSHA requirements and project specifications.

Scope

This SOP applies to Project Managers and Safety Coordinators during site mobilization and throughout the project.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Coordinates contracts with sanitary facility vendors. |
| Field Supervisor | Determines placement for accessibility and logistics. |
| Safety Coordinator | Ensures OSHA compliance and maintains inspection log. |

Required Documents and Tools

- Site logistics plan

- Sanitary facility vendor contract

- OSHA sanitation standards

- Inspection log template

Procedure

Step 1: Plan Facility Locations

- Identify accessible, evenly distributed locations.

- Ensure ADA-compliant unit if required.

Step 2: Secure Vendor Services

- Contract portable toilet/wash station vendor.

- Establish service and cleaning schedule.

Step 3: Install Facilities

- Place units per site logistics plan.

- Anchor units if required for safety.

Step 4: Maintain Facilities

- Vendor provides regular cleaning and servicing.

- Safety Coordinator inspects weekly.

Step 5: Document Compliance

- Maintain sanitation inspection log.

- Report deficiencies and corrective actions.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Sanitary Facilities Setup Checklist | Field Supervisor | Project Folder |
| Vendor Contract & Service Records | PM | Procurement Folder |
| Inspection Log | Safety Coordinator | Safety Folder |

Compliance & Review

| KPI | Target |
| --- | --- |
| Sanitary facilities installed before mobilization | 100% |
| Cleaning schedule maintained | 100% |
| Weekly inspections completed | 100% |

References

- GSL Project Manager Procedures – Mobilization

- OSHA Sanitation Standards

Appendix

- Sanitary Facilities Setup Checklist

- Inspection Log Template