SOP 9.4.480 – Conduct Safety Inspections

Department: Safety / Field Operations
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.240 – Manage Inspection Reports; 9.41.470 – Develop Site-Specific Safety Plan; 9.41.475 – Conduct Safety Orientation; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Safety Management

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 6: Scheduling

- Tab 8: Change Order Process

- Tab 9: Submittals

- Tab 12: Look Ahead

- Tab 14: Daily Reports

- Tab 22: Document Management

- Tab 41: Material Management

- Tab 57: ProCore

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.2.6 Project Safety Coordinator

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

- 9.4 General Superintendents

================================================================================

Purpose

To conduct regular safety inspections of the jobsite, identify hazards, and verify compliance with OSHA and company standards.

Scope

This SOP applies to Safety Coordinators, Field Supervisors, and Project Managers.
All inspection reports must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Safety Coordinator | Conducts inspections and documents findings. |
| Field Supervisor | Corrects hazards identified during inspections. |
| Project Manager | Reviews reports and ensures corrective action. |
| Branch Manager | Audits safety inspection process. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Safety inspection checklist

- Procore Safety Inspection tool

Procedure

- Conduct scheduled and unscheduled safety inspections.

- Record findings using checklist or Procore tool.

- Notify Field Supervisor of hazards for correction.

- Track corrective actions to closure.

- File inspection reports per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Safety Inspection Reports | Safety Coordinator | Per SOP 190A |
| Corrective Action Records | Field Supervisor | Per SOP 190A |
| Audit Records | Branch Manager | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| Weekly safety inspections completed | 100% |
| Corrective actions closed within 7 days | ≥95% |
| Reports filed and reviewed monthly | 100% |

References

- GSL Project Manager Procedures – Safety Management

- SOP 9.41.190A – Document Filing Standards

- OSHA 29 CFR 1926 Subpart C

Appendix

- Safety Inspection Checklist

- Corrective Action Log