SOP 9.4.520 – Conduct Quality Meetings

Department: Project Management / Quality
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.175 – Conduct Quality Meetings; 9.41.515 – Develop Quality Management Plan; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Quality Management

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 6: Scheduling

- Tab 8: Change Order Process

- Tab 9: Submittals

- Tab 12: Look Ahead

- Tab 14: Daily Reports

- Tab 22: Document Management

- Tab 41: Material Management

- Tab 57: ProCore

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

- 9.4 General Superintendents

================================================================================

Purpose

To conduct regular quality meetings to review standards, discuss issues, and ensure compliance with project requirements.

Scope

This SOP applies to Project Managers, Quality Inspectors, Field Supervisors, and Subcontractors.
All quality meeting records must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Leads quality meetings and tracks issues. |
| Quality Inspector | Presents inspection findings. |
| Field Supervisor | Reports field compliance challenges. |
| Subcontractors | Participate in discussions and corrective actions. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Meeting agenda and notes

- Inspection reports

Procedure

- Schedule quality meetings monthly or as required.

- Prepare agenda including nonconformance items.

- Conduct meeting and document decisions.

- Assign corrective actions with due dates.

- File minutes and logs per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Meeting Agenda | Project Manager | Per SOP 190A |
| Meeting Minutes | PM / Site Admin | Per SOP 190A |
| Corrective Action Log | Quality Inspector | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| Quality meetings held monthly | 100% |
| Minutes issued within 48 hrs | ≥95% |
| Corrective actions tracked to closure | 100% |

References

- GSL Project Manager Procedures – Quality Management

- SOP 9.41.190A – Document Filing Standards

Appendix

- Quality Meeting Agenda Template

- Corrective Action Log