SOP 9.4.640 – Manage Storage and Logistics

Department: Project Management / Field Operations
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.060 – Prepare Material Handling Plan; 9.41.570 – Manage Material Allocation; 9.41.630 – Manage Material Receiving; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Procurement

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 6: Scheduling

- Tab 8: Change Order Process

- Tab 9: Submittals

- Tab 12: Look Ahead

- Tab 14: Daily Reports

- Tab 22: Document Management

- Tab 41: Material Management

- Tab 57: ProCore

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

- 9.4 General Superintendents

================================================================================

Purpose

To manage storage and logistics of materials and equipment to ensure availability, protection, and efficient handling on-site.

Scope

This SOP applies to Project Managers, Field Supervisors, and Warehouse/Logistics Personnel.
All storage and logistics records must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Plans site storage and logistics requirements. |
| Field Supervisor | Oversees on-site material storage and protection. |
| Warehouse/Logistics Staff | Handles material movement and storage. |
| Site Administrator | Maintains storage and logistics logs. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Material handling plan (see SOP 9.41.060)

- Storage and logistics log

Procedure

- Develop storage and logistics plan during mobilization.

- Identify designated laydown and storage areas.

- Protect stored materials from weather and damage.

- Track movement and usage of stored materials.

- File logistics records per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Storage & Logistics Plan | Project Manager | Per SOP 190A |
| Logistics Logs | Site Administrator | Per SOP 190A |
| Condition Reports | Field Supervisor | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| Storage plan developed before first delivery | 100% |
| 100% of materials properly protected | 100% |
| Logs updated weekly | 100% |

References

- GSL Project Manager Procedures – Procurement

- SOP 9.41.190A – Document Filing Standards

Appendix

- Storage & Logistics Plan Template

- Logistics Log Example