SOP 9.4.725 – Resolve Field Problems

Department: Field Operations / Project Management / Quality
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.205 – Manage RFIs; 9.41.715 – Manage Field Coordination; 9.41.535 – Manage Nonconformance Reports; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Field Execution

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 6: Scheduling

- Tab 8: Change Order Process

- Tab 9: Submittals

- Tab 12: Look Ahead

- Tab 14: Daily Reports

- Tab 22: Document Management

- Tab 41: Material Management

- Tab 57: ProCore

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

- 9.4 General Superintendents

================================================================================

Purpose

To resolve field problems promptly to avoid delays, rework, or safety risks.

Scope

This SOP applies to Field Supervisors, Project Managers, and Quality Inspectors.
All field problem resolution records must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Field Supervisor | Identifies and reports field problems. |
| Project Manager | Reviews problems and initiates corrective actions. |
| Quality Inspector | Verifies compliance of corrective solutions. |
| Site Administrator | Logs problems and resolutions. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Field issue log template

- RFI and NCR forms

Procedure

- Document field problem with details and photos.

- Notify PM and record in issue log.

- Develop corrective action plan.

- Implement corrective solution.

- File resolution records per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Field Issue Log | Site Administrator | Per SOP 190A |
| Corrective Action Records | Project Manager | Per SOP 190A |
| Verification Notes | Quality Inspector | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| 100% of field problems logged within 24 hrs | 100% |
| Corrective actions implemented within 3 days | ≥95% |
| Resolutions verified by Quality Inspector | 100% |

References

- GSL Project Manager Procedures – Field Execution

- SOP 9.41.190A – Document Filing Standards

Appendix

- Field Issue Log Template

- Corrective Action Example