SOP 9.5.010 – Conduct Commissioning Meetings

Department: Project Management / Quality Control
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.020 – Project Manager Reviews Plans, Specifications & Schedule; 9.41.075 – Develop Project Schedule; 9.41.175 – Conduct Quality Meetings
Reference: GSL Project Manager Procedures – Coordination

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 38: Testing

Job Descriptions (Policy Manual Section 7):

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To conduct commissioning meetings with the owner, design team, and subcontractors to ensure systems testing, startup, and turnover are properly coordinated.

Scope

This SOP applies to Project Managers, Commissioning Agents, Subcontractors, and Quality Personnel on projects requiring commissioning.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Schedules and facilitates commissioning meetings; tracks testing progress. |
| Commissioning Agent | Defines testing requirements and validates results. |
| Subcontractors | Provide documentation and manpower for testing/startup. |
| Quality Inspector | Ensures commissioning requirements are met. |

Required Documents and Tools

- Commissioning plan

- Testing and inspection checklists

- Manufacturer startup procedures

- Non-conformance reports (NCRs)

Procedure

- Schedule Meetings – Hold prior to commissioning activities and as needed during execution.

- Prepare Agenda – Include system readiness, documentation, staffing, and testing protocols.

- Conduct Meeting – Review startup requirements, safety precautions, and test procedures.

- Assign Action Items – Document responsible parties and due dates.

- Record and File – Save minutes and update commissioning log.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Commissioning Meeting Agenda | Project Manager | Project Folder |
| Meeting Minutes | PM | Project Folder |
| Commissioning Log | PM / Commissioning Agent | Project Folder |

Compliance & Review

| KPI | Target |
| --- | --- |
| Commissioning meetings held prior to system testing | 100% |
| All startup procedures documented | 100% |
| NCRs resolved before system acceptance | 100% |

References

- GSL Project Manager Procedures – Coordination

Appendix

- Commissioning Agenda Template

- Testing Checklist Example