SOP 9.6.020 – Manage Punch List Closeout

Department: Project Management / Quality / Field Operations
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.545 – Manage Punch List Quality; 9.41.760 – Prepare for Turnover (Field Perspective); 9.41.555 – Manage Project Turnover Documentation; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Closeout

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 18: Job Close Out

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To complete and verify punch list items before project turnover.

Scope

This SOP applies to Project Managers, Field Supervisors, Quality Inspectors, and Subcontractors.
All punch list closeout documentation must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Oversees punch list closeout process. |
| Field Supervisor | Assigns and tracks punch list items. |
| Quality Inspector | Verifies corrections meet standards. |
| Subcontractors | Correct deficiencies assigned to them. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Punch list log

- Closeout checklist

Procedure

- Review open punch list with subcontractors and field crews.

- Assign items with deadlines.

- Conduct re-inspections to verify corrections.

- Document completion and obtain Owner sign-off.

- File punch list closeout records per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Updated Punch List Log | Field Supervisor | Per SOP 190A |
| Verification Reports | Quality Inspector | Per SOP 190A |
| Owner Sign-off Record | Project Manager | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| 100% of punch list items logged | 100% |
| Deficiencies corrected within assigned timeframe | ≥95% |
| Owner sign-off obtained before turnover | 100% |

References

- GSL Project Manager Procedures – Closeout

- SOP 9.41.190A – Document Filing Standards

Appendix

- Punch List Template

- Owner Sign-off Example