SOP 9.6.020 – Manage Punch Lists

Department: Project Management / Quality Control
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.1
Related SOPs: 9.41.175 – Conduct Quality Meetings; 9.41.180 – Conduct Commissioning Meetings; 9.41.185 – Conduct Closeout Meetings; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Documentation Management

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 18: Job Close Out

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To document and track punch list items to ensure all deficiencies are resolved prior to project closeout and owner acceptance.

Scope

This SOP applies to Project Managers, Field Supervisors, and Subcontractors.
All punch lists must be created, tracked, and closed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Creates punch list, assigns items, and tracks status. |
| Field Supervisor | Verifies completion of items in the field. |
| Subcontractors | Resolve assigned items. |
| Owner/Client | Confirms acceptance of completed punch list. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Punch list template

- Project specifications

Procedure

- Generate punch list near substantial completion.

- Assign items to responsible subcontractors or crews.

- Track progress until resolved.

- Field Supervisor verifies completion.

- Owner confirms final acceptance.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Punch List Log | Project Manager | Per SOP 190A |
| Completion Verification | Field Supervisor | Per SOP 190A |
| Owner Acceptance | PM | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| Punch list issued within 2 days of substantial completion | 100% |
| All items resolved before final acceptance | 100% |
| Owner sign-off documented | 100% |

References

- GSL Project Manager Procedures – Documentation Management

- SOP 9.41.190A – Document Filing Standards

Appendix

- Punch List Template

- Verification Checklist