SOP 9.6.040 – Manage O&M Manuals

Department: Project Management / Closeout
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.1
Related SOPs: 9.41.200 – Manage Submittals; 9.41.245 – Manage Punch Lists; 9.41.250 – Manage As-Built Drawings; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Documentation Management

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 18: Job Close Out

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To collect, review, and submit Operations & Maintenance manuals for owner acceptance.

Scope

This SOP applies to Project Managers, Subcontractors, and Site Administrators.
All O&M manuals must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Reviews and confirms completeness of O&M manuals. |
| Subcontractors | Provide O&M manuals per specifications. |
| Site Administrator | Uploads and organizes O&M documentation. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- O&M log template

Procedure

- Identify required O&M manuals per contract.

- Collect manuals from subcontractors/vendors.

- Review for format and completeness.

- Upload and log manuals.

- Transmit final package to owner.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| O&M Manual Log | Project Manager | Per SOP 190A |
| Submitted Manuals | Subcontractors | Per SOP 190A |
| Final Package | PM | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| O&M log established within 30 days of project start | 100% |
| Manuals uploaded prior to closeout | 100% |
| Owner acceptance documented | 100% |

References

- GSL Project Manager Procedures – Documentation Management

- SOP 9.41.190A – Document Filing Standards

Appendix

- O&M Manual Log Template

- Owner Acceptance Example