SOP 9.6.050 – Manage Warranties

Department: Project Management / Closeout
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.1
Related SOPs: 9.41.245 – Manage Punch Lists; 9.41.250 – Manage As-Built Drawings; 9.41.255 – Manage O&M Manuals; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Documentation Management

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 18: Job Close Out

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To collect, log, and submit warranties in compliance with contract requirements.

Scope

This SOP applies to Project Managers, Subcontractors, and Site Administrators.
All warranty documents must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Reviews warranty requirements and ensures compliance. |
| Subcontractors | Submit warranty certificates. |
| Site Administrator | Logs and organizes warranties. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Warranty log template

Procedure

- Identify warranty requirements.

- Collect certificates from subcontractors/vendors.

- Log warranties and track durations.

- Submit warranty package to owner.

- File per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Warranty Log | Site Administrator | Per SOP 190A |
| Certificates | Subcontractors / PM | Per SOP 190A |
| Final Owner Package | PM | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| Warranty log established within 30 days of turnover | 100% |
| All warranties submitted prior to final acceptance | 100% |
| Owner acceptance documented | 100% |

References

- GSL Project Manager Procedures – Documentation Management

- SOP 9.41.190A – Document Filing Standards

Appendix

- Warranty Log Template

- Owner Acceptance Example