UTILITY CONSTRUCTION, INC.

QUALITY ASSURANCE PROGRAM

1212 MAIN STREET

ANYTOWN, ANYSTATE 34343

UTILITY CONSTRUCTION, INC.

1212 Main Street							      Tel  (555) 555-1234

Anytown, Anystate 34343					      Fax (555) 555-1236

OUR COMMITMENT TO OUR CUSTOMERS ...

Utility Construction, Inc. is committed to quality.  This document details Utility Construction's commitment to quality through our quality assurance program.  The purpose of our quality assurance program is to ensure that our customer's needs are met the first time and every time.  Our quality assurance program provides the framework that guarantees continuous improvement of our construction services, quality in our completed work, and customer satisfaction.

We recognize that our customers and our ability to meet their needs are the sole reason for Utility Construction's existence.  Our customers rely on our expertise in electrical construction to provide them with safe, reliable, and efficient power and communications systems.  Utility Construction does not rely on chance to provide our customers with the quality they need and deserve.  All of our employees understand Utility Construction's customer focus and commitment to quality.

John E. Doe

President

April 15, 20XX

QUALITY ASSURANCE PROGRAM

VERSION 1.0 REVISIONS

| DATE | PAGE |  | COMMENTS | APPROVED (NAME/DATE) |
| --- | --- | --- | --- | --- |
|  | NO. | REV. |  |  |

NOTICE Photocopies of this manual are not controlled. Photocopied manuals may not contain the latest revisions of Utility Construction's quality assurance program and be obsolete. Please request a current copy of this manual from the Corporate Quality Officer before providing this manual to customers or employees.

TABLE OF CONTENTS

1	Corporate Profile

1.1   Corporate Structure

1.2   Market Served

1.3   Mission Statement

1.4   Strategic Planning Process

2	Corporate Commitment To Quality

2.1	Quality Assurance Program

2.1.1	Purpose

2.1.2	Basis

2.1.3	Definition Of Terms Used

2.1.4	Distribution

2.1.5	Training

2.1.6	Revisions & Updates

2.2	Quality Policy

2.2.1	Quality Policy Statement

2.2.2	Quality Policy Objective

2.2.3	Quality Policy Dissemination

2.3	Responsibility For Corporate Quality

2.3.1	Levels Of Responsibility

2.3.2	Corporate-Level Responsibility

2.3.3	Project-Level Responsibility

2.3.4	Individual Responsibility

2.4	Management Review

3	Quality System

3.1	Quality System Defined

3.2	Quality System Objectives

3.3	Quality System Processes

4	Contract Document Review

4.1	Process Scope & Objectives

4.2	Document Review Process

4.2.1	Bid Documents

4.2.2	Site Visit

4.2.3	Prebid Meeting

4.2.4	Contract Award

4.2.5	Post-Contract Award

5	Document Control

5.1	Process Scope & Objectives

5.2	Document Control Procedures

5.2.1	Documents To Be Controlled

5.2.2	Responsibility For Document Control

5.2.3	Document Control System

6	Procurement & Expediting

6.1	Process Scope & Objectives

6.2	Supplier & Subcontractor Assessment

6.2.1	Materials & Equipment

6.2.2	Subcontractors

6.3	Requests For Quotation

6.4	Purchasing Policies & Procedures

6.5	Submittals

6.6	Owner-Furnished Materials & Equipment

6.7	Identification & Traceability

7	Tool & Equipment Maintenance, Calibration, & Testing

7.1	Process Scope & Objectives

7.2	Selection Of Tools & Equipment

7.3	Transportation & Storage Of Tools & Equipment

7.4	Calibration & Testing Of Tools & Equipment

7.5	Repair Of Tools & Equipment

7.6	Operating Instructions & Procedures

7.7	Operator Training & Certification

8	Material & Equipment Management

8.1	Process Scope & Objectives

8.2	Receiving & Inspection

8.3	Storage & Protection

8.4	Inventory Control Procedures

8.5	Material & Equipment Documentation

9	Construction Management

9.1	Process Scope & Objectives

9.2	Field Quality Defined

9.3	Responsibility For Field Quality

9.4	Organization For Field Quality

9.5	Work Force Qualifications & Training

9.6	Interface With Other Project Participants

9.7	Construction Means & Methods

9.8	Project Planning & Scheduling

9.9	Activity Preplanning

9.10	Safety & Accident Prevention

9.11	As-Built Construction Documents

10	Inspection, Testing, & Startup

10.1	Process Scope & Objectives

10.2	Verifying Contract Compliance

10.2.1   Verification Processes

10.2.2   Work-In-Process Inspection & Testing

10.2.3   Final Inspection & Testing

10.2.4   Third Party Inspection & Testing

10.3	Correction Of Nonconforming Work

10.4	Start Up & Testing Procedures

10.5	Inspection & Test Records

10.6	Warranties & Guarantees

11	ANSI/ASQC Q9002 Cross Reference

1   CORPORATE PROFILE

1.1   CORPORATE STRUCTURE

Utility Construction is incorporated in accordance with the laws of Anystate.

1.2   MARKET SERVED

Utility Construction serves commercial, industrial, and utility customers in the metropolitan area of Anytown.

1.3   MISSION STATEMENT

Utility Construction's mission statement is as follows:

Utility Construction and its employees are committed to becoming recognized by our customers as the best provider of electrical construction and maintenance services in this region.

Utility Construction's mission statement is implemented through our strategic planning process.

1.4   STRATEGIC PLANNING PROCESS

Utility Construction developed a comprehensive strategic plan in 20XX.  The objective of this strategic plan was to provide a structured program that will lead to the realization of our corporate goal as articulated in our mission statement.

Utility Construction works toward its corporate mission through the achievement of defined and measurable corporate objectives.  Utility Construction uses a rolling five-year planning horizon in its strategic planning process.  The strategic plan is reviewed, evaluated, and updated annually by Utility Construction's management team in October of each year.  Utility Construction's Board Of Directors reviews and approves the updated strategic plan for the following year at its December meeting.  Those portions of the strategic plan that affect everyday operations and departmental policies and procedures are reviewed with employees at the annual January employee meeting.

2   CORPORATE COMMITMENT TO QUALITY

2.1   QUALITY ASSURANCE PROGRAM

2.1.1   Purpose

The purpose of our quality assurance program is to delineate the structure, responsibilities, procedures, processes, and resources needed to ensure that Utility Construction meets the needs of our customers.

2.1.2   Basis

Our quality assurance program is based on ANSI/ASQC Standard Q9002.  A cross reference between our quality assurance program as documented in this manual and ANSI/ASQC Standard Q9002 is provided in Section 11.  ANSI/ASQC Standard Q9002 is equivalent to ISO Standard 9002.

2.1.3  Definition of Terms Used

Unless otherwise noted, terms used in this quality assurance manual are defined in accordance with ANSI/ISO/ASQC Standard A8402.

2.1.4   Distribution

A copy of this manual is provided to all Utility Construction's employees at the time of their quality assurance training.  These manuals are registered to the individual employee.  A copy of this manual is also available in the Utility Construction job trailer at each construction site for field employee reference.

2.1.5   Training

All Utility Construction employees received training in the quality assurance program within three months of its acceptance by the Board of Directors on August 15, 20XX.  Every new employee who has joined Utility Construction since August 15, 20XX has received training in the quality assurance program within one week of his or her employment date.

Employees working with Utility Construction receive training on the specific portions of the quality assurance program that apply directly to their work.  Training of employees is carried out at the job site by the project manager or the project's designated trainer.  Training of employees working in Utility Construction's home office is performed by the employee's department head or the department's designated trainer.

A record of all formal training is kept in the employee's personnel file.

2.1.6   Revisions And Updates

Revisions and updates to Utility Construction's quality assurance program are issued to all registered holders of the this manual.  All registered holders of this manual are responsible for updating the manual as required.  At each job site, the project superintendent is responsible for maintaining and updating the manual as required.  Periodic checks of the quality assurance manuals are made by the Corporate Quality Officer to ensure that all revisions and updates have been included.

Employees are responsible for understanding and implementing revisions and updates to the quality assurance program.  When there are a number of significant revisions or an overall update of the quality assurance program, each employee is required to attend a formal training session covering the revisions or update.  Project and department managers are responsible for disseminating changes and updates that affect employees.

2.2   QUALITY POLICY

2.2.1	Quality Policy Statement

Utility Construction's quality policy is as follows:

Perform work to the exact requirements of our customers as defined by the contract documents unless those requirements are changed in accordance with procedures defined in the contract.

2.2.2	Quality Policy Objective

The objective of Utility Construction's quality policy is to ensure that each employee understands that he or she is responsible for quality and empowered to ensure that customer's needs and expectations, as expressed in the contract documents, are met.

2.2.3	Quality Policy Dissemination

Utility Construction's quality policy is posted in conspicuous places throughout the home office and at all job sites.  This policy is reinforced verbally at all company and job site meetings that deal with quality and continuous improvement.

2.3   RESPONSIBILITY FOR CORPORATE QUALITY

2.3.1	Levels Of Responsibility

Utility Construction recognizes its responsibility to customers for providing quality electrical work.  Within Utility Construction, there are three levels of responsibility for quality:

• Corporate

• Project

• Individual

2.3.2	Corporate-Level Responsibility

The primary responsibility for quality at Utility Construction is the Quality Steering Committee, which consists of the following three members of senior management:

• President

• Senior Vice President

• Vice President Of Operations

The Senior Vice President serves as the Corporate Quality Officer for Utility Construction.  The Corporate Quality Officer is responsible for ensuring that the organization adopts and adheres to the quality policy.  The Corporate Quality Officer is also responsible for getting feedback from customers and ensuring that Utility Construction is a quality organization committed to customer satisfaction and continuous improvement.

2.3.3	Project-Level Responsibility

Utility Construction's project managers assist the Corporate Quality Officer.  Project managers are responsible for overseeing quality in the field and customer satisfaction.  Section 10.3 addresses the project manager's responsibility for field quality in greater detail.

2.3.4	Individual Responsibility

The key to the successful implementation of any quality assurance program is the individual employee.  The employee performing the work is the only person who can truly control quality during the construction process.  Utility Construction empowers employees to control quality through its quality policy and encourages open communications between employees and management about quality improvement.

2.4	MANAGEMENT REVIEW

The Corporate Quality Officer and designated staff conduct regular internal semiannual reviews to ensure that the quality assurance program is being properly and effectively implemented.  These management reviews include close scrutiny of the following:

• Organization structure and its impact on quality.

• Effective implementation of the quality policy.

• Internal evaluation of construction and maintenance services.

• Performance as measured by customer feedback and construction quality.

The management reviews are documented and submitted to the Quality Steering Committee which takes corrective action as necessary.  In addition, data and information from previous reviews are used to identify trends and determine if corrective measures are effective.

3   QUALITY SYSTEM

3.1	QUALITY SYSTEM DEFINED

Utility Construction's quality system is outlined in this manual.  The quality system defines the organizational structure, responsibilities, procedures, and processes put in place to achieve Utility Construction's quality system objectives.

3.2	QUALITY SYSTEM OBJECTIVES

The objectives of Utility Construction's quality system are fourfold:

• Provide a quality electrical installation that meets the customer's needs and expectations as expressed in the contract documents.

• Avoid rework and delays during construction through early detection and correction of problems.

• Provide a safe and productive work environment for Utility Construction employees.

• Support the achievement of the corporate mission and strategic objectives.

3.3	QUALITY SYSTEM PROCESSES

Utility Construction's quality program consists of the control of the following eight processes:

QA MANUAL

PROCESS                                    SECTION

Contract Document Review			  4

Document Control					  5

Procurement & Expediting				  6

Tool Maintenance & Calibration			  7

Materials & Equipment Management		  8

Construction Management				  9

Inspection, Testing, & Startup			10

The following sections of the manual discuss each of these processes and its control in detail.

4	CONTRACT DOCUMENT REVIEW

4.1   PROCESS SCOPE & OBJECTIVES

This process involves the review of the project contract documents to ensure that these documents accurately define the scope of Utility Construction's work.  The objective of this process is to ensure that Utility Construction understands the customer's needs and requirements as expressed in the contract documents and can meet those needs and requirements.

4.2   DOCUMENT REVIEW PROCESS

4.2.1	Bid Documents

The document review process begins with the review of bid documents.  These documents define the scope and requirements of the project.  The bid documents normally include the following information:

• Invitation To Bid

• Bid Form

• Construction Agreement

• General, Supplemental, & Special Conditions

• Insurance & Bond Requirements

• Work Included & Excluded

• Drawings & Specifications

• Addenda

• Owner Furnished Materials & Equipment

• Project Milestone Dates

4.2.2	Site Visit

A site visit is scheduled with the customer prior to bidding.  The purpose of the site visit is for Utility Construction to become familiar with site and its condition.  In addition to the physical site, Utility Construction will investigate project logistics and local conditions that may impact the construction process.

4.2.3	Prebid Meeting

Utility Construction will attend any scheduled prebid meetings in order to interact with the customer and clarify the project scope and requirements.  Where no formal prebid meeting is scheduled, Utility Construction will contact the customer resolve any questions concerning the project scope and requirements prior to bidding.

4.2.4	Contract Award

Prior to executing the contract, Utility Construction will meet with the customer to review the contract scope and requirements and agree on any administrative procedures not previously addressed.  Once an understanding of all outstanding details and questions have been resolved, Utility Construction will execute the contract.

4.2.5	Post-Contract Award

Following contract execution, Utility Construction will start work as directed by the contract.  During construction, Utility Construction will keep the customer informed of any problems, delays, or deviations from the specified requirements in accordance with the contract documents.

5   DOCUMENT CONTROL

5.1   PROCESS SCOPE & OBJECTIVES

This process involves the cataloging, filing, and distribution of project documents.  The objective of this process is to ensure that information needed to manage and perform the work is readily available to those that need it.

5.2   DOCUMENT CONTROL PROCEDURES

5.2.1	Documents To Be Controlled

All documents that affect project quality are required to be cataloged, filed, and distributed as required.  Controlled documents typically include the following:

•	Contract formation and maintenance documents that include the construction contract; general, supplemental, and special conditions; addenda, change orders, and field directives; among others.

•	Planning and design documents that include design criteria, site information, material and equipment information, calculations, drawings, specifications, among others.

•	Procurement and expediting documents that include quotations, agreements and purchase orders, shipping and receiving records, test and inspection documentation, warranties and guarantees, among others.

•	Tool and equipment maintenance and calibration procedures and records.

•	Material and equipment shop drawings and catalog cuts along with review and approval documents.

•	All correspondence, memoranda, meeting minutes, requests for information, schedules, and budgets relating to the construction process.

5.2.2	Responsibility For Document Control

The project manager is responsible for project document control.

5.2.3	Document Control System

All documents received are stamped with the date of receipt.  All internally generated documents are dated and marked with the name or initials of the originator.  A central project file is established at the beginning of the project and maintained throughout the project.  Where appropriate, a document log is kept for particular classes of documents.

DESIGN MANAGEMENT ANSI/ASQC Standard Q9002 does not address quality-system requirements for design control.

6   PROCUREMENT & EXPEDITING

6.1   PROCESS SCOPE & OBJECTIVES

This process involves the procurement of materials and equipment for incorporation into the work by Utility Construction.  In addition, this process involves procuring the services of qualified specialty subcontractors to assist Utility Construction in performing the work.

6.2   SUPPLIER AND SUBCONTRACTOR ASSESSMENT

6.2.1   Materials & Equipment

Only those suppliers of materials and equipment that are acceptable to the customer as defined in the contract documents are considered.  Acceptable suppliers are then assessed by Utility Construction based on past experience, commitment to quality and customer satisfaction, ability to meet the construction schedule, material and equipment installation characteristics, and after-sale service and support.

6.2.2   Subcontractors

Specialty subcontractors are assessed by Utility Construction based on expertise, past experience, commitment to quality and customer satisfaction, and ability to meet the construction schedule.

6.3   REQUESTS FOR QUOTATION

Only those suppliers and subcontractors approved by Utility Construction are asked to submit a quotation.  Requests for quotation sent to suppliers and subcontractors include Utility Construction's standard agreement as well as a detailed written scope of work.  Applicable drawings and specification sections are made available to suppliers and subcontractors to facilitate their quotation preparation.  Utility Construction provides suppliers and subcontractors with as much time as possible to prepare complete and accurate quotations.

6.4   PURCHASING POLICIES & PROCEDURES

Utility Construction selects a supplier or subcontractor based on the criteria outlined in the request for quotation.  In most cases, Utility Construction selects the successful bidder based on price since the successful supplier or subcontractor is selected from a prequalified pool of equal bidders.  Following selection and prior to contract execution, Utility Construction reviews the successful bidder's quotation for completeness and accuracy and then meets with the successful bidder to review the scope of work, technical requirements, inspection and testing requirements, submittal requirements, and construction schedule.  Once an agreement is reached on all technical and administrative issues, the contract is executed.

6.5   SUBMITTALS

Shop drawings, catalog cuts, and test and inspection data required to be submitted to the customer for approval by Utility Construction will be thoroughly reviewed for completeness and technical requirements prior to submission.  Utility Construction will stamp each submittal as having been reviewed along with the reviewer's name and date of review.  The goal of this procedure is to avoid delays due to inadequate or erroneous submittals.

6.6   OWNER-FURNISHED MATERIALS & EQUIPMENT

Utility Construction will work with the owner to ensure that owner-furnished materials and equipment meet the technical requirements of the project.  In addition, Utility Construction will provide the owner with schedule milestones and information so that the owner-furnished materials and equipment do not delay or otherwise affect the construction process.  If the installation of materials and equipment are Utility Construction's responsibility, Utility Construction will inspect the materials and equipment when delivered and properly store them until needed.  Records of the receipt and inspection of materials and equipment will be forwarded to the owner.

6.7   IDENTIFICATION & TRACEABILITY

Records will be kept of all materials and equipment incorporated into the work.

7   TOOL & EQUIPMENT MAINTENANCE, CALIBRATION, & TESTING

7.1   PROCESS SCOPE & OBJECTIVES

This process involves the maintenance and calibration of tools and equipment.  The objective of this process is to ensure that the employee in the field has the tools and equipment necessary to work effectively, safely, and efficiently.

7.2   SELECTION OF TOOLS & EQUIPMENT

Tools and equipment supplied by Utility Construction will be selected based on their suitability for the work to be performed.  Wherever possible, Utility Construction will review tool and equipment selection both before and during the performance of the work to ensure that the proper selection has been made.  In addition, Utility Construction will provide sufficient quantities of tools and equipment to allow employees to work productively.

7.3   TRANSPORTATION & STORAGE OF TOOLS & EQUIPMENT

Tools and equipment will be transported and stored in such a way that they will be protected from damage and deterioration.

7.4   CALIBRATION AND TESTING OF TOOLS & EQUIPMENT

Tools and equipment requiring calibration and/or testing will be calibrated and/or tested at regular intervals or just prior to use.  The calibration will be carried out by qualified technicians in a controlled environment in accordance with manufacturer recommendations.  Testing will be performed in accordance with manufacturer recommendations.  Records of tool and equipment calibration and testing will be kept and a stamp indicating the tool or equipment's calibration and/or test status will be attached.

7.5	REPAIR OF TOOLS & EQUIPMENT

When tools and equipment require repair they will be marked or tagged as soon as the damage or defect is detected to avoid accidental use.  Repairs will be carried out in accordance with manufacturer recommendations and instructions by qualified technicians in a controlled environment.  Following repair, the tools and equipment will be calibrated and tested as described in paragraph 7.4.  Records of all tool and equipment repairs will be kept.

7.6   OPERATING INSTRUCTIONS & PROCEDURES

Operating instructions and procedures will be available with the tool or equipment or maintained on file at the project site for employee reference and use.

7.7   OPERATOR TRAINING & CERTIFICATION

When tools and equipment require training for proper use, Utility Construction will provide training for employees by qualified instructors.  Records of all formal training will be kept.  If employee certification is required, Utility Construction will ensure that the employee is certified prior to using the tool or equipment.

8   MATERIALS & INSTALLED EQUIPMENT MANAGEMENT

8.1   PROCESS SCOPE & OBJECTIVES

This process involves managing materials and equipment from the time they are delivered to the site until they are incorporated in the work.  The objective of this process is to ensure that the right materials and equipment are delivered and that they are protected from damage and deterioration until they are installed.

8.2   RECEIVING & INSPECTION

At the time of delivery, all materials and equipment are inspected to ensure that they are what was ordered, they are intact and were not damaged during shipment, and that the proper quantity was delivered.  Only after a successful inspection are materials and equipment accepted.  If a problem is encountered during inspection, the materials and equipment are either rejected or corrective action is worked out with the supplier prior to acceptance.  A record is kept of all material and equipment receipts and inspections.

8.3   STORAGE & PROTECTION

Material and equipment delivered prior to when it is needed will be properly stored and protected to prevent damage or deterioration.

8.4   INVENTORY CONTROL PROCEDURES

For bulk materials, Utility Construction will establish inventory control procedures to ensure that the correct materials and equipment are used where required.

8.5   MATERIAL & EQUIPMENT DOCUMENTATION

Documentation such as installation instructions, testing and startup procedures, and operation and maintenance manuals will be cataloged and filed.  This documentation will be provided to the owner in accordance with the contract documents.

9   CONSTRUCTION MANAGEMENT

9.1   PROCESS SCOPE & OBJECTIVES

This process involves the installation of materials, equipment, and systems at the site.  The objective of this process is to ensure that the work is completed efficiently and in accordance with the construction documents.

9.2   FIELD QUALITY DEFINED

Quality in the field is defined as meeting the customer's needs and requirements as stated in the construction documents.

9.3   RESPONSIBILITY FOR FIELD QUALITY

The project manager is ultimately responsible for quality in the field.  However, Utility Construction believes that quality cannot be controlled and must be built into the project by the employee performing the work.  Therefore, field quality is everyone's responsibility.

9.4   ORGANIZATION FOR FIELD QUALITY

The project manager is responsible for organizing for field quality and documenting responsibilities.  The project organization and delegation of authority and responsibility for quality will vary from project to project depending on the project's complexity and size.

9.5   WORK FORCE QUALIFICATIONS & TRAINING

Utility Construction employs only the best employees with the training, skills, and experience necessary to perform the work assigned.  Each employee is responsible for the quality of his or her own work.

9.6   INTERFACE WITH OTHER PROJECT PARTICIPANTS

Utility Construction will plan and coordinate its work with other project participants as required.

9.7   CONSTRUCTION MEANS & METHODS

Utility Construction will use construction means and methods that are appropriate for the project.  The means and methods will be reviewed with the employee(s) performing the work prior to implementation.

9.8   PROJECT PLANNING & SCHEDULING

Utility Construction will plan and schedule work within the framework of the customer's schedule and the contract requirements.  Utility Construction will work closely with the customer and other affected parties when scheduling required shutdowns and cutovers.

9.9   ACTIVITY PREPLANNING

In order to ensure that employees have the necessary information, materials and equipment, and tools and production equipment to perform the work, Utility Construction will preplan its construction activities.  Preplanning is the responsibility of the foreman and performed with the assistance of the employee(s) who will be assigned to perform the work.  Preplans will be documented by the foreman and distributed as required.

9.10   SAFETY & ACCIDENT PREVENTION

Safety and accident prevention is synonymous with quality at the site.  Utility Construction is dedicated to providing a safe work environment for employees.  The project manager is responsible for safety and accident programs at the construction site.  These programs include regular review of construction means and methods for safety, inspection of the condition of tools and production equipment, and the scheduling of regular safety meetings and training.  Utility Construction believes that safety and accident prevention is everyone's responsibility.

9.11   AS-BUILT CONSTRUCTION DOCUMENTS

As-built construction documents will be maintained throughout construction at the site.  At the end of the project, these as-built construction documents will be provided to the customer in accordance with the contract documents.

10   INSPECTION, TESTING, & STARTUP

10.1   PROCESS SCOPE & OBJECTIVES

This process involves the inspection, testing, and startup of materials, equipment, and the systems that they comprise.  The objective of this process is to ensure that materials and equipment are supplied and installed in accordance with the technical specifications and systems operate as required.

10.2   VERIFYING CONTRACT COMPLIANCE

10.2.1   Verification Processes

The following three processes are used for verifying contract compliance:

• Work-In-Process Inspection & Testing

• Final Inspection & Testing

• Third-Party Inspection & Testing

10.2.2   Work-In-Process Inspection & Testing

Ongoing inspection and testing of work in process is carried out throughout construction in accordance with manufacturer recommendations, specified requirements, and Utility Construction's quality assurance procedures.  Records are kept of all work-in-process inspection and testing.

10.2.3   Final Inspection & Testing

Utility Construction performs final inspection and testing on all completed work in accordance with manufacturer recommendations, specified requirements, and Utility Construction's quality assurance procedures prior to turning the completed work over to the owner.  Records are kept of all final inspection and testing.

10.2.4   Third-Party Inspection & Testing

Utility Construction assists third parties such as the owner, owner's representative, engineer, manufacturer, code officials, or others in the performance of required inspection and testing of work in process and completed work.  Records are kept of all third-party inspections and testing.

10.3   CORRECTION OF NONCONFORMING WORK

Nonconforming material, equipment, and work in place will be corrected in one of the following three ways:

• Reworked or modified in order to meet specified requirements.

• Accepted with or without rework or modification by the owner, owner's representative, architect and/or engineer, or other authorized entity.

• Removed and replaced in total.

When nonconforming material, equipment, or work in place is accepted as is, Utility Construction will document the nonconformance and the fact that it has been accepted.  Reworked, modified, or replaced material, equipment, or work in place must be inspected and tested in accordance with manufacturer recommendations, the technical specifications, and Utility Construction's quality assurance procedures.

10.4   STARTUP & TESTING PROCEDURES

Startup and testing procedures for materials, equipment, and the systems they comprise will be performed in accordance with manufacturer recommendations, the technical specifications, and Utility Construction's quality assurance procedures.  A manufacturer's representative will be brought to the site to inspect the installation, perform final adjustments, perform required tests, and/or startup the equipment or system when required by contract, for technical reasons, or for warranty compliance.

10.5   INSPECTION & TEST RECORDS

All inspection and test records will be maintained by Utility Construction along with records of any corrective action taken.  Copies of the inspection and test records will be provided to the owner, owner's representative, or engineer in accordance with the contract documents.

10.6   WARRANTIES & GUARANTEES

Utility Construction will ensure that all requirements to put warranties and guarantees in force are met.  Copies of all warranties and guarantees will be provided to the owner in accordance with the contract documents.

11   ANSI/ASQC STANDARD Q9002 CROSS REFERENCE

The following table provides a cross reference between ANSI/ASQC Standard Q9002 and Utility Construction's quality assurance program:

| ANSI/ASQC STANDARD Q9002 |  | QA PROGRAM REFERENCE SECTION |
| --- | --- | --- |
| SECTION | SECTION TITLE |  |
| 4.1 | Management Responsibility | 2 |
| 4.2 | Quality System | 3 |
| 4.3 | Contract Review | 4 |
| 4.4 | Design Control | N/A |
| 4.5 | Document And Data Control | 5 |
| 4.6 | Purchasing | 6 |
| 4.7 | Control Of Customer-Supplied Product | 6.6 |
| 4.8 | Product Identification And Traceability | 6.7 |
| 4.9 | Process Control | 9 |
| 4.10 | Inspection And Testing | 10 |
| 4.11 | Control Of Inspection, Measuring, And Test Equipment | 7 |
| 4.12 | Inspection And Test Status | 10 |
| 4.13 | Control Of Nonconforming Product | 10.3 |
| 4.14 | Corrective And Preventive Action | 10.3 |
| 4.15 | Handling, Storage, Packaging, Preservation, And Delivery | 8 |
| 4.16 | Control Of Quality Records | 8.5 & 10.5 |
| 4.17 | Internal Quality Audits | 2.4 & 10.2 |
| 4.18 | Training | 9.5 |
| 4.19 | Servicing | 10.6 |
| 4.20 | Statistical Techniques | N/A |

ANSI/ASQC Q9002-1994, Quality Systems - Model for Quality Assurance In Production, Installation, and Servicing, American Society for Quality Control, Milwaukee, Wisconsin, 1994.

ISO 9002:1994, Quality Systems - Model for Quality Assurance in Production, Installation, and Servicing, International Organization for Standardization, Geneva, Switzerland, 1994.

ANSI/ISO/ASQC A8402-1994, Quality Management And Quality Assurance - Vocabulary, American Society for Quality Control, Milwaukee, Wisconsin, 1994.