SOP: 9.3.070 – Setup Temporary Lighting

Department: Project Management / Safety

Related SOPs:

• 9.3.010 - Setup Office Trailer

• 9.3.020 - Setup Storage Trailer

• 9.3.030 - Setup Site Fencing and Access Control

• 9.3.040 - Setup Temporary Power

• 9.3.050 - Setup Temporary Water

Purpose

To provide adequate temporary lighting for safety, security, and productivity during construction.

Scope

This SOP applies to Project Managers, Field Supervisors, and Safety Coordinators during mobilization and project execution.

Roles & Responsibilities

Project Manager: Approves lighting plan and coordinates budget for fixtures and power.

Field Supervisor: Oversees installation and verifies coverage across all work areas.

Electrical Subcontractor: Installs temporary lighting systems per the approved plan.

Safety Coordinator: Inspects lighting for OSHA compliance and safety.

Requirements

• Site logistics plan

• Temporary lighting layout

• Temporary power connection plan (9.3.040 – Setup Temporary Power)

• OSHA lighting standards

Procedure

Step 1 – Assess Lighting Needs

• Identify required light levels for work areas, walkways, and security zones.

• Determine fixture types, quantities, and power requirements.

Step 2 – Install Fixtures

• Connect lighting to temporary power sources (9.3.040 – Setup Temporary Power).

• Mount fixtures securely to poles, scaffolding, or structures.

Step 3 – Test Coverage

• Verify adequate illumination in all designated areas.

• Adjust placement as needed to eliminate dark zones.

Step 4 – Safety Review

• Confirm compliance with OSHA minimum light level standards.

• Ensure cords are secured, protected, and do not create trip hazards.

Step 5 – Maintain System

• Replace failed bulbs and fixtures promptly.

• Conduct weekly inspections and document findings.

Appendix

Appendix – Templates & Checklists

• Temporary Lighting Layout Example

• Inspection Log Template

Appendix – References & Training Materials

Training Materials (Foreman Training Binder):

• Tab 4: Staging & Job Familiarization

• Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

• 7.2.4 Foreman

• 7.2.6 Project Safety Coordinator

• 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

• 9.5 Project Management

• 9.3 Field Leadership

Reference Documents:

• OSHA Lighting Standards