SOP 9.4.535 – Manage Nonconformance Reports (NCRs)

Department: Project Management / Quality
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.4.060 - Conduct Quality Meetings; 9.4.515 - Develop Quality Management Plan; 9.4.520 - Conduct Quality Meetings; 9.4.525 - Conduct Quality Inspections; 9.4.530 - Manage Quality Testing; 9.4.540 - Manage Quality Records; 9.4.735 - Perform Field Quality Verifications; 9.4.745 - Manage Field Rework
Reference: GSL Project Manager Procedures – Quality Management

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 6: Scheduling

- Tab 8: Change Order Process

- Tab 9: Submittals

- Tab 12: Look Ahead

- Tab 14: Daily Reports

- Tab 22: Document Management

- Tab 41: Material Management

- Tab 57: ProCore

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

- 9.4 General Superintendents

================================================================================

Purpose

To identify, document, and resolve nonconforming work in a consistent and traceable manner.

Scope

This SOP applies to Project Managers, Quality Inspectors, and Field Supervisors.
All NCRs must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Quality Inspector | Issues NCRs for nonconforming work. |
| Project Manager | Reviews NCRs, determines corrective actions. |
| Field Supervisor | Corrects deficiencies per NCR. |
| Branch Manager | Reviews repeated or unresolved NCRs. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- NCR log template

- Inspection reports

Procedure

- Identify nonconforming work during inspection or testing.

- Issue NCR and record in log.

- Assign corrective action with timeline.

- Verify corrective action completion.

- File NCR and resolution per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| NCR Log | Quality Inspector | Per SOP 190A |
| NCR Forms | PM / Inspector | Per SOP 190A |
| Corrective Action Records | Field Supervisor | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| 100% of NCRs logged within 24 hrs | 100% |
| Corrective actions closed within agreed timeframe | ≥95% |
| Logs reviewed monthly | 100% |

References

- GSL Project Manager Procedures – Quality Management

- SOP 9.41.190A – Document Filing Standards

Appendix

- NCR Form Template

- NCR Log Example