SOP 9.4.540 – Manage Quality Records

Department: Project Management / Quality / Administration
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.4.060 - Conduct Quality Meetings; 9.4.515 - Develop Quality Management Plan; 9.4.520 - Conduct Quality Meetings; 9.4.525 - Conduct Quality Inspections; 9.4.530 - Manage Quality Testing; 9.4.535 - Manage Nonconformance Reports (NCRs); 9.4.545 - Manage Punch List Quality; 9.4.735 - Perform Field Quality Verifications
Reference: GSL Project Manager Procedures – Quality Management

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 6: Scheduling

- Tab 8: Change Order Process

- Tab 9: Submittals

- Tab 12: Look Ahead

- Tab 14: Daily Reports

- Tab 22: Document Management

- Tab 41: Material Management

- Tab 57: ProCore

Job Descriptions (Policy Manual Section 7):

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

- 9.4 General Superintendents

================================================================================

Purpose

To establish a system for maintaining and archiving quality records that demonstrate compliance with project and contractual requirements.

Scope

This SOP applies to Project Managers, Site Administrators, and Quality Inspectors.
All quality records must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Ensures quality records are collected and filed. |
| Site Administrator | Maintains logs and organizes quality documentation. |
| Quality Inspector | Provides inspection and testing records. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Quality record log template

- Contract specifications

Procedure

- Establish project-specific quality records log.

- Collect inspection reports, NCRs, and test results.

- Verify completeness and accuracy of records.

- Archive records at project closeout.

- File per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Quality Records Log | Site Administrator | Per SOP 190A |
| Inspection & Testing Reports | Quality Inspector | Per SOP 190A |
| Final Quality Archive | Project Manager | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| Quality records log established within 10 days of turnover | 100% |
| 100% of reports filed within 48 hrs of completion | 100% |
| Final archive submitted at project closeout | 100% |

References

- GSL Project Manager Procedures – Quality Management

- SOP 9.41.190A – Document Filing Standards

Appendix

- Quality Records Log Template

- Archive Checklist