SOP 9.6.005 – Prepare for Turnover (Field Perspective)

Department: Field Operations / Project Management / Quality
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.2.015 - Project Turnover Meeting; 9.5.550 - Manage Commissioning Activities; 9.6.010 - Conduct Closeout Meetings; 9.6.015 - Manage Project Turnover Documentation; 9.6.020 - Manage Punch List Closeout; 9.6.030 - Manage As-Built Drawings; 9.6.035 - Submit Warranties; 9.6.050 - Provide Owner Training
Reference: GSL Project Manager Procedures – Field Execution

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 18: Job Close Out

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To prepare field operations for turnover by ensuring punch lists, as-builts, and corrective actions are completed and verified.

Scope

This SOP applies to Field Supervisors, Foremen, and Project Managers.
All field turnover preparation records must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Field Supervisor | Confirms all deficiencies are corrected. |
| Foremen | Complete outstanding tasks assigned. |
| Project Manager | Oversees turnover readiness checklist. |
| Quality Inspector | Verifies turnover completion. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Turnover readiness checklist

- Punch list logs and as-built drawings

Procedure

- Review punch list and assign outstanding items.

- Verify completion of corrective actions.

- Confirm as-builts are updated.

- Conduct final walk with Quality Inspector.

- File turnover readiness records per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Turnover Readiness Checklist | Project Manager | Per SOP 190A |
| Completed Punch List | Field Supervisor | Per SOP 190A |
| Verification Records | Quality Inspector | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| All punch list items completed before turnover | 100% |
| As-builts updated and filed | 100% |
| Final walk completed within 7 days of turnover | 100% |

References

- GSL Project Manager Procedures – Field Execution

- SOP 9.41.190A – Document Filing Standards

Appendix

- Turnover Readiness Checklist

- Punch List Example