SOP: 9.3.060 – Setup Sanitary Facilities

Department: Project Management / Safety

Related SOPs:

9.3.010 – Setup Office Trailer

9.3.020 – Setup Storage Trailer

9.3.030 – Setup Site Fencing and Access Control

9.3.040 – Setup Temporary Power

9.3.050 – Setup Temporary Water

Purpose

To provide adequate sanitary facilities (toilets, wash stations) for workers in compliance with OSHA requirements and project specifications.

Scope

This SOP applies to Project Managers and Safety Coordinators during site mobilization and throughout the project.

Roles & Responsibilities

Project Manager

- Coordinates contracts with sanitary facility vendors.

- Approves placement plan.

- Field Supervisor:  Determines placement for accessibility and logistics.

- Coordinates delivery and setup.

- Safety Coordinator:  Ensures OSHA compliance and maintains the sanitation inspection log.

Requirements

- Site logistics plan

- Sanitary facility vendor contract

- OSHA sanitation standards (29 CFR 1926.51)

- Inspection log template

Procedure

Appendix

- Templates & Checklists

- Sanitary Facilities Setup Checklist

- Inspection Log Template Appendix

- References & Training Materials Training Materials (Foreman Training Binder):

- Tab 4: Staging & Job Familiarization

- Tab 22: Document Management Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.2.6 Project Safety Coordinator

- 7.3.1 Operations Management Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership Reference Documents:

- OSHA Sanitation Standards (29 CFR 1926.51)