SOP: 9.3.070 – Setup Temporary Lighting

Department: Project Management / Safety

Related SOPs:

9.3.010 – Setup Office Trailer

9.3.020 – Setup Storage Trailer

9.3.030 – Setup Site Fencing and Access Control

9.3.040 – Setup Temporary Power

9.3.050 – Setup Temporary Water

Purpose

To provide adequate temporary lighting for safety, security, and productivity during construction.

Scope

This SOP applies to Project Managers, Field Supervisors, and Safety Coordinators during mobilization and project execution.

Roles & Responsibilities

Project Manager

- Approves lighting plan and coordinates budget for fixtures and power.

- Field Supervisor:  Oversees installation and verifies coverage across all work areas.

- Electrical Subcontractor:  Installs temporary lighting systems per the approved plan.

- Safety Coordinator:  Inspects lighting for OSHA compliance and safety.

Requirements

- Site logistics plan

- Temporary lighting layout

- Temporary power connection plan (9.3.040

- Setup Temporary Power)

- OSHA lighting standards

Procedure

Appendix

- Templates & Checklists

- Temporary Lighting Layout Example

- Inspection Log Template Appendix

- References & Training Materials Training Materials (Foreman Training Binder):

- Tab 4: Staging & Job Familiarization

- Tab 22: Document Management Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.2.6 Project Safety Coordinator

- 7.3.1 Operations Management Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership Reference Documents:

- OSHA Lighting Standards