SOP 9.41.120 – Setup Temporary Lighting

Department: Project Management / Safety
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.035 – Conduct Site Visit; 9.41.105 – Setup Temporary Power; 9.41.110 – Setup Temporary Water; 9.41.115 – Setup Sanitary Facilities
Reference: GSL Project Manager Procedures – Mobilization

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 4: Staging & Job Familiarization

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.2.6 Project Safety Coordinator

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

Purpose

To provide adequate temporary lighting for safety, security, and productivity during construction.

Scope

This SOP applies to Project Managers, Field Supervisors, and Safety Coordinators during mobilization and project execution.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Approves lighting plan and coordinates budget for fixtures and power. |
| Field Supervisor | Oversees installation and verifies coverage across work areas. |
| Electrical Subcontractor | Installs temporary lighting systems. |
| Safety Coordinator | Inspects lighting for OSHA compliance and safety. |

Required Documents and Tools

- Site logistics plan

- Temporary lighting layout

- Temporary power connection plan (SOP 9.41.105)

- OSHA lighting standards

Procedure

Step 1: Assess Lighting Needs

- Identify required light levels for work areas, walkways, and security zones.

Step 2: Install Fixtures

- Connect to temporary power sources.

- Mount fixtures securely to poles, scaffolding, or structures.

Step 3: Test Coverage

- Verify adequate illumination in all designated areas.

- Adjust placement as needed.

Step 4: Safety Review

- Confirm compliance with OSHA minimum light levels.

- Ensure cords are secured and protected.

Step 5: Maintain System

- Replace failed bulbs/fixtures promptly.

- Conduct weekly inspections.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Temporary Lighting Plan | Project Manager | Project Folder |
| Installation Checklist | Field Supervisor | Project Folder |
| Inspection Log | Safety Coordinator | Safety Folder |

Compliance & Review

| KPI | Target |
| --- | --- |
| Lighting installed before work commences | 100% |
| OSHA compliance verified | 100% |
| Weekly inspections performed | 100% |

References

- GSL Project Manager Procedures – Mobilization

- OSHA Lighting Standards

Appendix

- Temporary Lighting Layout Example

- Inspection Log Template