SOP: 9.2.070 - Conduct Site Visit

Department: Project Management / Field Operations

Related SOPs:

9.2.050 - FS Reviews Plans, Specifications & Schedule

9.2.060 - Create Issue List and Begin RFI Process

9.2.080 - Prepare Material Handling Plan

9.3.010 - Setup Office Trailer

9.3.470 - Develop Site-Specific Safety Plan

Purpose

To establish a standardized process for conducting thorough site visits during the preconstruction phase to gather critical information for project planning, identify site conditions, and validate assumptions made during estimating.

- Scope

- Applies to all projects / situations where:

| SOP | Role / Title 1 | Role / Title 2 | Role / Title 3 | Role / Title 4 | Role / Title 5 | Role / Title 6 | Role / Title 7 | Role / Title 8 | Role / Title 9 | Role / Title 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| List Responsibility 1 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 2 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 3 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 4 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 5 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 6 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 7 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 8 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 9 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 10 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 11 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 12 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 13 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 14 |  |  |  |  |  |  |  |  |  |  |  |

Project has been awarded or LOI/NTP received

On-site evaluation is required for planning

Material handling and safety plans need site-specific information

Mobilization requirements need to be assessed

Roles & Responsibilities

Project Manager

Schedules and coordinates site visit

Documents site conditions and access constraints

Identifies material handling requirements

Coordinates with GC/Owner for site access

Foreman / Field Supervisor

Participates in site visit

Evaluates constructability and work sequence

Identifies safety concerns and hazards

Assesses staging and laydown areas

General Superintendent

Participates in site visits for major projects

Validates resource and equipment needs

Reviews site logistics feasibility

Safety Coordinator

Identifies site-specific safety requirements

Documents hazards for safety plan development

Requirements

Required inputs, tools, logs, templates, and references:

Contract documents (plans, specs)

Site visit checklist

Camera/documentation equipment

PPE appropriate for site conditions

Site access authorization

Procedure

Step 1 - Schedule and Prepare for Site Visit

Coordinate site access with GC/Owner. Review contract documents before visit. Prepare site visit checklist. Confirm attendees and PPE requirements.

Step 2 - Evaluate Site Access and Logistics

Document access routes and restrictions. Identify delivery areas and constraints. Assess parking and staging availability. Note traffic patterns and restrictions.

Step 3 - Assess Work Areas and Conditions

Walk all work areas. Document existing conditions. Identify coordination requirements with other trades. Note ceiling heights, clearances, and access constraints.

Step 4 - Identify Safety and Environmental Factors

Document hazards and safety concerns. Identify required permits or special precautions. Note environmental conditions. Assess emergency access and egress.

Step 5 - Document and Distribute Findings

Complete site visit report with photos. Distribute findings to project team. Update planning documents based on findings. Add issues to RFI list as needed.

Appendix

Site Visit Checklist

Site Visit Report Template