SOP: 9.3.080 - Setup Signage

Department: Field Operations

Related SOPs:

9.2.070 - Conduct Site Visit

9.3.030 - Setup Site Fencing and Access Control

9.3.060 - Setup Sanitary Facilities

Purpose

To establish a standardized process for setting up required signage at the project site to meet safety, identification, and regulatory requirements.

Scope

- Applies to all projects / situations where:

| SOP | Role / Title 1 | Role / Title 2 | Role / Title 3 | Role / Title 4 | Role / Title 5 | Role / Title 6 | Role / Title 7 | Role / Title 8 | Role / Title 9 | Role / Title 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| List Responsibility 1 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 2 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 3 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 4 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 5 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 6 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 7 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 8 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 9 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 10 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 11 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 12 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 13 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 14 |  |  |  |  |  |  |  |  |  |  |  |

Safety signage is required per OSHA

Site identification is needed

Regulatory requirements must be met

Roles & Responsibilities

Project Manager

Coordinates setup requirements with GC/Owner

Ensures resources are available for setup

Monitors setup progress and completion

Foreman / Field Supervisor

Oversees physical setup activities

Ensures setup meets project requirements

Reports completion and any issues

General Superintendent

Validates setup requirements

Supports resource allocation

Reviews completion for compliance

Requirements

Required inputs, tools, logs, templates, and references:

Site visit documentation

Project requirements and specifications

Necessary permits and approvals

Required materials and equipment

Procedure

Step 1 - Review Requirements

Review site visit findings related to this setup. Confirm requirements with GC/Owner. Verify permits and approvals are in place.

Step 2 - Plan Setup Activities

Identify resources and materials needed. Coordinate with other setup activities. Schedule setup work.

Step 3 - Execute Setup

Perform setup work per plan. Document setup completion. Address any issues encountered.

Step 4 - Verify and Document

Verify setup meets requirements. Complete documentation. Communicate completion to project team.

Appendix

Setup Checklist

Completion Documentation Form