SOP: 9.3.470 - Develop Site-Specific Safety Plan

Department: Safety / Field Operations

Related SOPs:

9.2.070 - Conduct Site Visit

9.3.010 - Setup Office Trailer

9.3.060 - Setup Sanitary Facilities

Document Filing Standards (SOP # TBD)

Purpose

To establish a standardized process for developing a comprehensive site-specific safety plan that addresses hazards, requirements, and emergency procedures for the project.

- Scope

- Applies to all projects / situations where:

| SOP | Role / Title 1 | Role / Title 2 | Role / Title 3 | Role / Title 4 | Role / Title 5 | Role / Title 6 | Role / Title 7 | Role / Title 8 | Role / Title 9 | Role / Title 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| List Responsibility 1 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 2 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 3 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 4 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 5 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 6 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 7 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 8 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 9 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 10 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 11 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 12 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 13 |  |  |  |  |  |  |  |  |  |  |  |
| List Responsibility 14 |  |  |  |  |  |  |  |  |  |  |  |

Site visit has been completed

Site hazards have been identified

Safety requirements need to be documented

Emergency procedures need to be established

Roles & Responsibilities

Project Manager

Coordinates setup requirements with GC/Owner

Ensures resources are available for setup

Monitors setup progress and completion

Foreman / Field Supervisor

Oversees physical setup activities

Ensures setup meets project requirements

Reports completion and any issues

General Superintendent

Validates setup requirements

Supports resource allocation

Reviews completion for compliance

Requirements

Required inputs, tools, logs, templates, and references:

Site visit documentation

Project requirements and specifications

Necessary permits and approvals

Required materials and equipment

Procedure

Step 1 - Review Requirements

Review site visit findings related to this setup. Confirm requirements with GC/Owner. Verify permits and approvals are in place.

Step 2 - Plan Setup Activities

Identify resources and materials needed. Coordinate with other setup activities. Schedule setup work.

Step 3 - Execute Setup

Perform setup work per plan. Document setup completion. Address any issues encountered.

Step 4 - Verify and Document

Verify setup meets requirements. Complete documentation. Communicate completion to project team.

Appendix

Setup Checklist

Completion Documentation Form