SOP 9.41.185 – Conduct Closeout Meetings

Department: Project Management / Closeout
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.085 – Construction Execution Kickoff Meeting; 9.41.175 – Conduct Quality Meetings; 9.41.180 – Conduct Commissioning Meetings
Reference: GSL Project Manager Procedures – Coordination

Purpose

To conduct closeout meetings with the project team, subcontractors, and client to ensure all contractual, documentation, and performance requirements are completed before final turnover.

Scope

This SOP applies to Project Managers, Field Supervisors, Subcontractors, and Clients during the closeout phase.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Schedules and leads closeout meetings; tracks completion of punch lists and documentation. |
| Field Supervisor | Verifies completion of fieldwork and punch list items. |
| Subcontractors | Submit required closeout documents and complete deficiencies. |
| Client/Owner | Confirms acceptance of closeout deliverables. |

Required Documents and Tools

- Closeout checklist

- Punch list log

- As-built drawings

- O&M manuals

- Warranty certificates

Procedure

- Schedule Meeting – Hold near substantial completion and final turnover.

- Prepare Agenda – Cover punch lists, as-builts, warranties, and training requirements.

- Conduct Meeting – Review progress, outstanding deliverables, and client requirements.

- Assign Actions – Document responsible parties for outstanding items.

- Record Outcomes – Issue minutes and update closeout checklist.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Closeout Meeting Agenda | Project Manager | Project Folder |
| Meeting Minutes | PM | Project Folder |
| Updated Closeout Checklist | PM | Project Folder |

Compliance & Review

| KPI | Target |
| --- | --- |
| Closeout meeting conducted before final turnover | 100% |
| Punch list completion verified before owner acceptance | 100% |
| All closeout documentation submitted on time | ≥95% |

References

- GSL Project Manager Procedures – Coordination

Appendix

- Closeout Meeting Agenda Template

- Sample Punch List Log