SOP 9.41.515 – Develop Quality Management Plan

Department: Project Management / Quality
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.035 – Conduct Site Visit; 9.41.080 – Establish Tracking & Control Systems; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Quality Management

Purpose

To develop a project-specific Quality Management Plan (QMP) that defines standards, responsibilities, inspections, and acceptance criteria.

Scope

This SOP applies to Project Managers, Quality Inspectors, and Field Supervisors.
All quality management plan documents must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Prepares and approves the QMP. |
| Quality Inspector | Reviews standards and acceptance criteria. |
| Field Supervisor | Ensures field compliance with QMP. |
| Branch Manager | Audits project quality systems. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Corporate Quality Manual

- Contract specifications

Procedure

- Review contract and specifications for quality requirements.

- Draft project-specific QMP.

- Review with Quality Inspector and Field Supervisor.

- Obtain approval from Branch Manager.

- Distribute and file per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Quality Management Plan | Project Manager | Per SOP 190A |
| Inspection & Test Plan (ITP) | Quality Inspector | Per SOP 190A |
| Approval Record | Branch Manager | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| QMP prepared before mobilization | 100% |
| QMP approved by Branch Manager | 100% |
| QMP reviewed quarterly | 100% |

References

- GSL Project Manager Procedures – Quality Management

- SOP 9.41.190A – Document Filing Standards

Appendix

- Quality Management Plan Template

- Inspection & Test Plan Example