SOP 9.41.550 – Manage Commissioning Activities

Department: Project Management / Quality / Field Operations
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.180 – Conduct Commissioning Meetings; 9.41.530 – Manage Quality Testing; 9.41.545 – Manage Punch List Quality; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Quality Management

Purpose

To coordinate and manage commissioning activities for systems and equipment to ensure performance meets contract requirements.

Scope

This SOP applies to Project Managers, Commissioning Agents, Subcontractors, and Quality Inspectors.
All commissioning documentation must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Coordinates commissioning schedule and resources. |
| Commissioning Agent | Leads testing and verification of systems. |
| Subcontractors | Support commissioning activities. |
| Quality Inspector | Verifies compliance with contract standards. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Commissioning plan and test protocols

- Equipment manuals

Procedure

- Review contract commissioning requirements.

- Develop commissioning plan and schedule.

- Conduct functional and performance testing.

- Document results and corrective actions.

- File commissioning records per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Commissioning Plan | Project Manager | Per SOP 190A |
| Test Reports | Commissioning Agent | Per SOP 190A |
| Final Commissioning Log | PM / Quality Inspector | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| Commissioning plan completed before testing | 100% |
| 100% of systems commissioned per contract | 100% |
| Reports filed and reviewed | 100% |

References

- GSL Project Manager Procedures – Quality Management

- SOP 9.41.190A – Document Filing Standards

Appendix

- Commissioning Plan Template

- Test Protocol Example