SOP 9.41.635 – Manage Material Inspection

Department: Field Operations / Quality / Procurement
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.530 – Manage Quality Testing; 9.41.630 – Manage Material Receiving; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Procurement

Purpose

To inspect materials and equipment for compliance with specifications, submittals, and quality requirements before installation.

Scope

This SOP applies to Field Supervisors, Quality Inspectors, and Project Managers.
All inspection records must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Field Supervisor | Performs initial visual inspection on-site. |
| Quality Inspector | Verifies compliance with specifications and submittals. |
| Project Manager | Resolves inspection issues with vendors. |
| Site Administrator | Logs inspection records. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Inspection checklist

- Approved submittals

Procedure

- Conduct inspection upon receiving materials.

- Compare against approved submittals and specifications.

- Document results in inspection form.

- Reject and quarantine nonconforming items.

- File inspection records per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Inspection Reports | Quality Inspector | Per SOP 190A |
| Nonconformance Reports | PM / Inspector | Per SOP 190A |
| Inspection Log | Site Administrator | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| 100% of materials inspected before use | 100% |
| Nonconforming items identified within 24 hrs | 100% |
| Inspection records filed daily | 100% |

References

- GSL Project Manager Procedures – Procurement

- SOP 9.41.190A – Document Filing Standards

Appendix

- Inspection Checklist Example

- NCR Example