SOP 9.41.735 – Perform Field Quality Verifications

Department: Field Operations / Quality / Project Management
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.41.525 – Conduct Quality Inspections; 9.41.535 – Manage Nonconformance Reports; 9.41.720 – Conduct Productivity Analysis; 9.41.190A – Document Filing Standards
Reference: GSL Project Manager Procedures – Field Execution

Purpose

To perform ongoing quality verifications in the field to ensure work is performed according to drawings, specifications, and approved submittals.

Scope

This SOP applies to Field Supervisors, Quality Inspectors, and Project Managers.
All field quality verification records must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Field Supervisor | Conducts spot checks of ongoing work. |
| Quality Inspector | Verifies work meets contract requirements. |
| Project Manager | Reviews verifications and follows up on deficiencies. |
| Site Administrator | Maintains quality verification logs. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Field quality verification log

- Approved submittals and specs

Procedure

- Conduct field checks daily during work execution.

- Compare installations to drawings and specs.

- Record findings in quality log.

- Issue corrective action for deficiencies.

- File verification records per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Quality Verification Log | Site Administrator | Per SOP 190A |
| Deficiency Reports | Field Supervisor / PM | Per SOP 190A |
| Follow-Up Records | Quality Inspector | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| Daily quality checks conducted | 100% |
| Deficiencies logged within 24 hrs | 100% |
| Corrective actions closed within 7 days | ≥95% |

References

- GSL Project Manager Procedures – Field Execution

- SOP 9.41.190A – Document Filing Standards

Appendix

- Field Quality Log Template

- Corrective Action Example