SOP: 9.3.030 - Setup Site Fencing and Access Control

Department: Field Operations / Safety

Related SOPs:

- 9.3.010 - Setup Office Trailer

- 9.3.020 - Setup Storage Trailer

- 9.3.040 - Setup Temporary Power
- 9.3.050 - Setup Temporary Water
- 9.3.060 - Setup Sanitary Facilities
- 9.3.070 - Setup Temporary Lighting
- 9.3.080 - Setup Signage
- 9.3.470 - Develop Site-Specific Safety Plan

============================================================

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 4: Staging & Job Familiarization

- Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.2.6 Project Safety Coordinator

- 7.3.1 Operations Management

- 7.4 Business Administration

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

================================================================================

PURPOSE

============================================================

To establish a standardized process for installing site fencing and access control measures, ensuring site security and controlled entry/exit for personnel and deliveries.

============================================================

SCOPE

============================================================

Applies to all projects / situations where:

- Perimeter security is required

- Controlled access is needed

- Site boundaries must be defined

- Safety/security fencing is specified

============================================================

ROLES & RESPONSIBILITIES

============================================================

| Role | Responsibility |

|------|----------------|

| Field Supervisor (A) | Oversees fencing installation; Establishes access protocols |

| Foreman (R) | Coordinates installation; Manages gate operations |

| Safety Coordinator (R) | Defines safety requirements; Reviews emergency egress |

| Project Manager (C) | Approves access control plan; Coordinates with GC/Owner |

RACI: R=Responsible, A=Accountable, C=Consulted, I=Informed

============================================================

REQUIREMENTS

============================================================

- Site perimeter plan/survey

- Fencing specifications (height, type, material)

- Gate locations and sizes

- Access control hardware (locks, badges, etc.)

- Required signage

- Emergency egress plan

============================================================

PROCEDURE

============================================================

STEP 1 - Review Requirements

--------------------------------------

FS and Safety review:

- Contract fencing requirements

- Local code requirements

- Owner/GC security standards

- Gate locations for personnel and vehicles

- Emergency egress needs

STEP 2 - Plan Installation

--------------------------------------

Develop installation plan:

- Mark perimeter boundaries

- Identify gate locations

- Plan for temporary openings during construction

- Coordinate with utilities (underground conflicts)

- Schedule installation crew/subcontractor

STEP 3 - Install Perimeter Fencing

--------------------------------------

Execute installation:

- Set fence posts at proper spacing

- Install fence panels/fabric

- Ensure proper height throughout

- Secure bottom of fence to prevent entry

- Install barbed wire/topping if required

STEP 4 - Install Gates

--------------------------------------

Install access points:

- Personnel gates at designated locations

- Vehicle gates sized for deliveries

- Install locking hardware

- Ensure gates swing properly

- Install gate stops/holders

STEP 5 - Establish Access Control

--------------------------------------

Implement access protocols:

- Install locks and distribute keys

- Set up sign-in/sign-out procedures

- Post access control signage

- Brief all personnel on procedures

- Coordinate with security (SOP 9.3.090)

STEP 6 - Verify and Document

--------------------------------------

Complete installation:

- Walk perimeter to verify completeness

- Test all gates and locks

- Document with photos

- Verify emergency egress routes

- Communicate access procedures to team

============================================================

COMPLIANCE & REVIEW

============================================================

| KPI | Target |

|-----|--------|

| Fencing complete before work begins | 100% |

| All gates operational with locks | 100% |

| Emergency egress verified | 100% |

| Access procedures communicated | 100% |

============================================================

APPENDIX

============================================================

- Fencing Installation Checklist

- Gate Location Plan Template

- Access Control Sign-In Log

- Emergency Egress Plan Template

============================================================

REVISION HISTORY

============================================================

Formerly: SOP 9.41.100 - Setup Site Fencing and Access Control

Revision: 2.0 | Effective Date: 2025-10-10

Owner: Field Operations | Approver: Executive Committee