SOP: 9.3.050 – Setup Temporary Water

Department: Project Management / Field Operations

Related SOPs:

• 9.3.010 - Setup Office Trailer

• 9.3.020 - Setup Storage Trailer

• 9.3.030 - Setup Site Fencing and Access Control

• 9.3.040 - Setup Temporary Power

• 9.3.060 - Setup Sanitary Facilities

• 9.3.070 - Setup Temporary Lighting

• 9.3.080 - Setup Signage

• 9.3.090 - Setup Security

Purpose

To provide safe, reliable temporary water supply for construction use, including dust control, concrete work, cleaning, and sanitary needs.

Scope

This SOP applies to Project Managers and Field Supervisors during mobilization and throughout project execution.

Roles & Responsibilities

Project Manager: Coordinates with owner/utility for temporary water service connection. Approves water layout plan and budget.

Field Supervisor: Oversees installation of piping, hoses, and distribution points. Verifies system functionality.

Safety Coordinator: Ensures compliance with environmental and safety requirements.

Requirements

• Site logistics plan

• Temporary water layout plan

• Utility agreements and permits

• Safety and environmental compliance forms

Procedure

Step 1 – Identify Requirements

• Determine project water needs (e.g., mixing, cleaning, dust control, sanitary).

• Estimate volume and flow rate requirements.

Step 2 – Coordinate with Utility/Owner

• Apply for temporary water meter or hydrant connection.

• Confirm service availability and connection timeline.

Step 3 – Install Distribution System

• Connect to utility source and install pipes/hoses to distribution points.

• Provide shutoff valves and backflow prevention devices.

Step 4 – Verify Functionality

• Test flow and pressure at all distribution points.

• Confirm adequate supply for all identified project needs.

Step 5 – Safety and Environmental Review

• Ensure hoses and lines are protected from vehicle and equipment damage.

• Verify compliance with stormwater and environmental regulations.

Appendix

Appendix – Templates & Checklists

• Temporary Water Setup Checklist

• Example Utility Connection Permit

Appendix – References & Training Materials

Training Materials (Foreman Training Binder):

• Tab 4: Staging & Job Familiarization

• Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

• 7.2.4 Foreman

• 7.2.6 Project Safety Coordinator

• 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

• 9.5 Project Management

• 9.3 Field Leadership