SOP: 9.3.080 – Setup Signage

Department: Project Management / Safety

Related SOPs:

• 9.3.010 - Setup Office Trailer

• 9.3.020 - Setup Storage Trailer

• 9.3.030 - Setup Site Fencing and Access Control

• 9.3.040 - Setup Temporary Power

• 9.3.050 - Setup Temporary Water

Purpose

To install signage that provides safety information, site identification, and directional guidance for workers, visitors, and the public.

Scope

This SOP applies to Project Managers, Field Supervisors, and Safety Coordinators during mobilization.

Roles & Responsibilities

Project Manager: Determines signage requirements and coordinates vendor procurement.

Field Supervisor: Installs signage in designated locations per the site logistics plan.

Safety Coordinator: Ensures signs meet OSHA and client requirements.

Requirements

• Site logistics plan

• Safety and hazard communication plan

• Signage package (safety, directional, informational)

• OSHA signage standards

Procedure

Step 1 – Identify Requirements

• Review OSHA requirements and project-specific signage needs.

• Include safety, hazard, PPE, traffic, and directional signage.

Step 2 – Procure Signage

• Order standardized signage per GSL and client requirements.

• Confirm delivery timeline aligns with mobilization schedule.

Step 3 – Install Signs

• Place at entrances, work areas, and hazard zones.

• Ensure visibility and durability (weather-resistant mounting).

Step 4 – Verify Compliance

• Safety Coordinator inspects signage placement for OSHA compliance.

• Replace or repair damaged signs immediately (within 24 hours).

Appendix

Appendix – Templates & Checklists

• Sample Site Signage Package

• Installation Checklist Template

Appendix – References & Training Materials

Training Materials (Foreman Training Binder):

• Tab 4: Staging & Job Familiarization

• Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

• 7.2.4 Foreman

• 7.2.6 Project Safety Coordinator

• 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

• 9.5 Project Management

• 9.3 Field Leadership

Reference Documents:

• OSHA Signage Standards