SOP: 9.3.110 – Setup Equipment Staging

Department: Project Management / Field Operations

Related SOPs:

• 9.3.010 - Setup Office Trailer

• 9.3.020 - Setup Storage Trailer

• 9.3.030 - Setup Site Fencing and Access Control

• 9.3.040 - Setup Temporary Power

• 9.3.050 - Setup Temporary Water

• 9.4.565 - Manage Equipment Allocation

• 9.4.700 - Track Equipment Utilization

Purpose

To establish designated areas for equipment staging, ensuring safe and efficient deployment of construction equipment.

Scope

This SOP applies to Project Managers, Field Supervisors, and Equipment Operators during mobilization.

Roles & Responsibilities

Project Manager: Approves staging area location based on site logistics.

Field Supervisor: Directs setup and coordinates equipment deliveries.

Equipment Operators: Position equipment safely in the staging area.

Safety Coordinator: Ensures OSHA compliance for equipment storage and staging.

Requirements

• Site logistics plan

• Equipment delivery schedule

• Material handling plan (9.2.080 – Prepare Material Handling Plan)

Procedure

Step 1 – Select Staging Location

• Identify an accessible area that avoids disrupting traffic flow and active work zones.

• Confirm proximity to deployment areas.

Step 2 – Prepare Area

• Clear ground and provide mats if needed for soft conditions.

• Mark parking and maneuvering zones.

Step 3 – Position Equipment

• Organize equipment by size and type.

• Ensure emergency access is maintained.

Step 4 – Apply Safety Controls

• Provide barriers near public access points.

• Apply lockout/tagout to idle equipment.

• Install signage for equipment staging zone.

Step 5 – Document

• Maintain log of staged equipment and inspections.

• Update site logistics plan to reflect staging layout.

Appendix

Appendix – Templates & Checklists

• Equipment Staging Log Template

• Site Logistics Plan Example

Appendix – References & Training Materials

Training Materials (Foreman Training Binder):

• Tab 4: Staging & Job Familiarization

• Tab 22: Document Management

Job Descriptions (Policy Manual Section 7):

• 7.2.4 Foreman

• 7.2.6 Project Safety Coordinator

• 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

• 9.5 Project Management

• 9.3 Field Leadership