SOP 9.4.240 – Manage Inspection Reports

Department: Project Management / Quality / Safety
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.1
Related SOPs: 9.4.190 - Document Filing Standards; 9.4.195 - Manage Project Documentation System; 9.4.200 - Manage Submittals; 9.4.205 - Manage RFIs (Requests for Information); 9.4.215 - Manage Daily Reports
Reference: GSL Project Manager Procedures – Documentation Management

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 6: Scheduling

- Tab 8: Change Order Process

- Tab 9: Submittals

- Tab 12: Look Ahead

- Tab 14: Daily Reports

- Tab 22: Document Management

- Tab 41: Material Management

- Tab 57: ProCore

Job Descriptions (Policy Manual Section 7):

- 7.2.6 Project Safety Coordinator

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

- 9.4 General Superintendents

================================================================================

Purpose

To ensure inspection reports (safety, quality, and compliance) are logged, distributed, and archived to support accountability and corrective actions.

Scope

This SOP applies to Project Managers, Safety Coordinators, Quality Inspectors, and Site Administrators.
All inspection reports must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Reviews findings, ensures corrective actions are implemented. |
| Safety Coordinator | Performs and logs safety inspections. |
| Quality Inspector | Prepares and submits quality inspection reports. |
| Site Administrator | Uploads reports and organizes per SOP 190A. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Inspection report templates

- OSHA and project-specific requirements

Procedure

- Conduct inspection per checklist.

- Complete inspection report.

- Upload and log report.

- Distribute findings to PM and responsible parties.

- Track corrective actions until closed.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Safety Inspection Reports | Safety Coordinator | Per SOP 190A |
| Quality Inspection Logs | Inspector | Per SOP 190A |
| Corrective Action Records | PM | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| 100% of required inspections logged | 100% |
| Corrective actions closed within timeframe | ≥95% |
| Monthly inspection review completed | 100% |

References

- GSL Project Manager Procedures – Documentation Management

- SOP 9.41.190A – Document Filing Standards

- OSHA 29 CFR 1926

Appendix

- Inspection Checklist Example

- Corrective Action Log