SOP 9.4.300 – Manage Architect / Engineer Communications

Department: Project Management / Design Coordination
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.4.270 - Manage Project Communications; 9.4.275 - Manage Internal Communications; 9.4.280 - Manage External Communications; 9.4.285 - Manage Client/Owner Communications; 9.4.290 - Manage Subcontractor Communications
Reference: GSL Project Manager Procedures – Communication

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 6: Scheduling

- Tab 8: Change Order Process

- Tab 9: Submittals

- Tab 12: Look Ahead

- Tab 14: Daily Reports

- Tab 22: Document Management

- Tab 41: Material Management

- Tab 57: ProCore

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

- 9.4 General Superintendents

================================================================================

Purpose

To document and manage all communications with architects and engineers to ensure design clarifications, RFIs, and revisions are properly tracked.

Scope

This SOP applies to Project Managers, Field Supervisors, and Site Administrators.
All architect/engineer communications must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Issues RFIs, receives design clarifications, and maintains official records. |
| Field Supervisor | Identifies design conflicts and communicates to PM. |
| Site Administrator | Logs architect/engineer correspondence. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- RFI log

- Drawing and specification logs

Procedure

- Route all A/E communications through the Project Manager.

- Submit RFIs and track responses in log.

- Document design clarifications in writing.

- Update drawings/specifications as revisions are issued.

- File all correspondence and records per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Architect/Engineer Communication Log | Site Administrator | Per SOP 190A |
| RFIs and Responses | Project Manager | Per SOP 190A |
| Design Revisions | PM / SA | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| 100% of A/E communications logged | 100% |
| RFIs responded to before affected work begins | ≥95% |
| Design revisions filed within 24 hrs of receipt | 100% |

References

- GSL Project Manager Procedures – Communication

- SOP 9.41.190A – Document Filing Standards

Appendix

- RFI Form Example

- Design Clarification Log