SOP 9.4.530 – Manage Quality Testing

Department: Project Management / Quality
Created by: Tom Ewing
Effective Date: [Insert Date]
Version: 1.0
Related SOPs: 9.4.060 - Conduct Quality Meetings; 9.4.515 - Develop Quality Management Plan; 9.4.520 - Conduct Quality Meetings; 9.4.525 - Conduct Quality Inspections; 9.4.535 - Manage Nonconformance Reports (NCRs); 9.4.540 - Manage Quality Records; 9.4.545 - Manage Punch List Quality; 9.4.735 - Perform Field Quality Verifications
Reference: GSL Project Manager Procedures – Quality Management

================================================================================

DOCUMENT REFERENCES

================================================================================

Training Materials (Foreman Training Binder):

- Tab 6: Scheduling

- Tab 8: Change Order Process

- Tab 9: Submittals

- Tab 12: Look Ahead

- Tab 14: Daily Reports

- Tab 22: Document Management

- Tab 41: Material Management

- Tab 57: ProCore

Job Descriptions (Policy Manual Section 7):

- 7.2.4 Foreman

- 7.3.1 Operations Management

Management Directives (Policy Manual Section 9):

- 9.5 Project Management

- 9.3 Field Leadership

- 9.4 General Superintendents

================================================================================

Purpose

To perform and document quality testing in accordance with project specifications, codes, and standards.

Scope

This SOP applies to Quality Inspectors, Testing Agencies, and Project Managers.
All testing reports must be filed per SOP 9.41.190A – Document Filing Standards.

Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Project Manager | Schedules required testing and reviews results. |
| Quality Inspector | Coordinates testing and records outcomes. |
| Testing Agency | Performs testing and provides certified reports. |
| Field Supervisor | Provides access and support during testing. |

Required Documents and Tools

- SOP 9.41.190A – Document Filing Standards

- Contract specifications

- Testing agency certifications

Procedure

- Identify testing requirements from contract and specifications.

- Schedule testing with approved agency.

- Witness tests and record results.

- Review test reports for compliance.

- File results and certifications per SOP 190A.

Deliverables

| Document | Owner | Location |
| --- | --- | --- |
| Testing Reports | Testing Agency / Quality Inspector | Per SOP 190A |
| Nonconformance Records | PM | Per SOP 190A |
| Certifications | Testing Agency | Per SOP 190A |

Compliance & Review

| KPI | Target |
| --- | --- |
| 100% of required tests completed | 100% |
| Test results reviewed within 48 hrs | 100% |
| Reports filed and archived | 100% |

References

- GSL Project Manager Procedures – Quality Management

- SOP 9.41.190A – Document Filing Standards

Appendix

- Testing Report Template

- Certification Example