GSL Release Conditions for Wire and Cable

1. Order Placement
GSL will provide the vendor with a complete list of wire sizes, types, and total lengths required for the project. When conductor types and sizes are standard inventory, the vendor is expected to fulfill orders from existing stock to reduce waste and optimize spool utilization.

2. Storage and Release
The vendor agrees to store all wire and cable at their facility until GSL issues a formal release notice. Wire and cable shall remain in the vendor’s possession and inventory until released, at which point they will be cut, bundled, and shipped in accordance with GSL’s instructions.

3. Cutting and Bundling Requirements
Upon each release, the vendor shall cut and bundle feeder sets onto a single spool (or coil for short runs) that includes:

- Colored phase conductors

- Neutral conductor

- Ground conductor (spooled separately if it differs in size from the phase conductors)

4. Waste Reduction
The vendor shall manage spool usage efficiently, drawing from stock in a way that limits unusable remnants and maximizes usable lengths for future releases.

5. Billing
Wire and cable shall be invoiced to GSL only upon release. No billing shall occur at the time of initial procurement or storage.